**Table S2: Flow cytometry laser and filters**

|  |  |  |
| --- | --- | --- |
| Signal | Laser | Filter |
| Cy5.5 | Red | 710-40 |
| Alexa647 | Red | 660-20 |
| PI | Blue | 695-40 |
| GFP | Blue | 530-30 |