|  |  |
| --- | --- |
| **A. Determination of parasitaemia in thick film, based on the number of WBCs** | **B. Determination of parasitaemia in thin film, based on the number of RBCs** |
| *Category* | *Number of laboratories* | *Category* | *Number of laboratories* |
| 100 | 2 | 100 - <1,000 | 1 |
| 200 | 8 | 1,000 - <5,000 | 8 |
| 200;500 (if < 10) | 14 | 5,000 - <10,000 | 5 |
| 500 | 1 | 10,000 | 25 |
| 1,000 | 0 | >10,000 | 0 |
| NP | 14 | MD | 38 |
| MD | 38 |   |  |
| *Range* |  | *Range* |  |
| minimum | 100 | minimum | 100 |
| maximum | 500 | maximum | 10,000 |
| Mean | NA | Mean | 7,656 |
| Median | NA | Median | 10,000 |
| *Number of WBCs* | *Guidelines* | *Number of RBCs* | *Guidelines* |
| 200;500 (if <10 parasites) | NVP | 10,000 | NVP |
| MD | BSH | 1,000 | BSH |
| 1,000 | CDC | 500;2,000 (if parasitaemia < 1%) | CDC |
| 200;500 (if <100 parasites) | WHO | 5,000 | WHO |
| TOTAL | 77 | TOTAL | 77 |