## Slide 1
Supplemental Figure
a
b
c
d
Removed lateral menisci (a, b) and 3D-reconstructed menisci using SYNAPSE VINCENT based on open MRI scans (c, d).

## Slide 2
Supplemental Table
 | Water suspension volume (mm3) | 3D MRI volume (mm3) | Correlation coefficient | %Error
Lateral meniscus (n = 6) | 3016 ± 758 | 2901 ± 606 | 0.982 | 4.6
Table. The validation analysis in calculated volume by 3D MRI and water suspension methods.
Volume values are displayed as a mean ± standard deviation.
Water suspension method were repeated 3 times.
The 3D MRI measurements were performed by three observers.